ASH-DOME ASSEMBLY INSTRUCTIONS

GENERAL INFORMATION

Every ASH-DOME unit is completely fabricated, components numbered, inspected, thoroughly tested for operation, disassembled, cleaned and remarked before being packed for shipment. Average carpenters or mechanics shall not find the assembly difficult. With the exception of an Engineers Leveling Instrument, the entire assembly process can be completed with the hand tools found in an average carpenters or mechanics toolbox.

Most of the assembly work is done from the center of the dome, it is suggested a platform or scaffolding be erected approximately 4 or 5 feet below the top of the finished dome height. A person needs to be able to work at chest height in the center of the dome. All of the dome roof panels, the shutter track rails, the observing aperture trim members, the shutter drive assembly and the shutter itself will be installed from this center platform. It is also necessary to have a work platform available for a worker on the outside of the support wall for the installation of all nuts, bolts and screws around the outside of the dome structure. The top of the wall should be a knee height. When the dome track and skirt have been assembled the dome is continually turned to this installer. It is not necessary for this person to move from this location.

UNLOADING THE DOME COMPONENTS

Wear gloves. Most of the parts will not be that heavy but being long and in a radius they are awkward to handle. It is suggested that all dome parts be removed from the pallet or crate and laid out in an orderly manner. Similar parts lay together. This will acquaint the mechanic with the general appearance of the parts and provide him with a reasonably good concept of the eventual locations during the assembly. You will find most parts are readily identifiable by their general appearance. Others are numbered to aid in locating their final positions. Please keep in mind while unloading that all parts are ONE of ONE.

CAUTION

DO NOT attempt to assemble an ASH-DOME unit during periods of high or gusting winds. Unexpected gusts may cause an installer to lose a roof panel or a high gust could tear apart a partially assembled dome from the structure. With the exercise of a reasonable amount of care, and closely following these instructions, it is certain the final result will be a very high quality observatory dome structure with excellent operating characteristics.

STEP #1 - INSTALLATION OF CIRCULAR WALL PLATE ASSEMBLY

Remove all excess cement and mortar from the top of the support wall. THIS IS IMPORTANT, the ASH-DOME wall plate must lay flat and level to ensure all the following components will align properly during the fabrication. All anchor bolts should be straightened to a vertical position, (straight up and down). The ASH-DOME wall plate assembly consists of circular segments which when fastened together form a continuous circular base plate with the dome roller fixtures attached and evenly spaced.

1.1

- Interlock the segments in a manner that brings similar numbers to be adjacent at the spliced joints (Page #1).  Install the WALL PLATE SPLICE BOLTS at this time.

- Next install the dome azimuth roller fixtures at each splice in the wall plate. The nuts on the bolt holding the dome azimuth roller fixtures should be drawn down tightly, and then backed off until slightly tighter than finger tight. This allows the hard rubber cushion to act as a cushion to make up for any slight variations in the level plane of the wall plate assembly when finished.

- Rest the circular wall plate upon the protruding ends of the anchor bolts and layout the bolt locations for drilling.

1.2

- Note the location of the azimuth motor mounting bolts. This is where the drive is secured to the wall plate. Then shift the all plate assembly around until the azimuth drive motor is in an ideal location for electrical connections and to minimize interference between anchor bolts and dome support roller fixtures. Most Northern hemisphere astronomers prefer to locate the azimuth drive unit in a Northern quadrant.

- Adjust the entire wall plate assembly to become concentric with the support foundation wall. Check the outside diameter of the circular wall plate at many points and make any necessary adjustments to cause the plate to be resting in a truly circular configuration. When the outside diameter measurements are equal length, the wall plate assembly will be resting in a true circle.

- Next mark the locations of the anchor bolts and drill the holes. Drill the holes slightly larger than the diameter of the anchor bolts. (It may be necessary to cut anchor bolts off at some locations of wheel fixtures or the azimuth motor mount.)

- Lower the wall plate assembly down over the anchor bolts to a resting position on the wall top.

- Now, using a leveling instrument determine the highest elevation around the top of the support wall. Record the elevations along the inside or outside edge of the wall plate. When the high point has been located, further elevate this point by approximately 1/4" by inserting tapered shims between the underside of the plate and the wall top on either side of the anchor bolt, as indicated on ASH-DOME drawing R-100 (page 39).

- Install a washer and nut on this anchor bolt and draw the nut down tight. This is the highest elevation on your support wall. You must bring all the other points up to this elevation by using the leveling instrument and the tapered shims provided.

- Adjust the entire wall plate to this elevation and secure to the support wall.

DO NOT take the elevations from the top of the roller fixtures attached to the wall plate.

1.3

- Taking elevations from the fixture on the rubber isolation pad will not give you an accurate reading. When the entire wall plate assembly has been adjusted to a flat and level plane, it will be noted the width of the space between the underside of the wall plate and the wall top will vary as the elevations of the support wall top vary. This space should be filled with a cement grout or dry pack material at this time; however, it can be done after the completion of the dome.

- Recheck all elevations and outside diameter measurements, make any adjustments necessary to attain a truly circular, flat and level wall plate assembly. It is essential you use care in these adjustments of the wall plate assembly. This will guarantee the finished observatory dome structure will move in azimuth without a binding action in the dome support track rail or support rollers. Also by starting the assembly from a level plain the following components will come into alignment much easier.

- Trim off any excess length on the adjusting shims before installing the dome support track rails. The shims should be cut flush with the edges of the wall plate assembly. Take care not to loosen the shims during trimming.

- Cut off any extra length from the anchor bolts at this time.

STEP #2 -INSTALLATION OF DOME SUPPORT ROLLERS AND TRACK RAILS SECTIONS

2.1

- Apply any good grade of all weather lubricating grease to each dome support roller shaft and insert the shafts into the fixtures mounted about the wall plate (Page #1).

- When a minimum amount of lateral (run out) movement is desired, install a spacer washer on the roller shaft before inserting it into the roller fixture. This will not be required on each roller shaft but they should be spaced evenly.

- When all dome rollers have been mounted, install one segment of the dome track by inserting one end of the track over a roller.

- Now, roll the segment over the following dome rollers until the track segment is supported on the dome rollers. Note the number on the ends of the track rail and install following segments in a manner, which causes similar numbers to become adjacent (Page #2).

- As each additional track segment is installed, it must be bolted to the previously installed segment. This joint is made at the over lap or splice joints. Use the 5/16" x 3/4" low profile truss head bolts, these will be marked BOTTOM TRACK SPLICE NUTS & BOLTS.

- Install only the bolts that are in a straight up-and-down position. These go on the inside of the dome track, the bolts go down, and the nuts go on the bottom side of the dome track. This allows the dome track rail to roll around the wall plate assembly without any obstructions.

- The horizontal holes are used for the next step of the assembly. During the installation of the dome track rail segments, care must be exercised to prevent the support roller shafts from sliding out of the mounting fixtures. Roll the dome track on keeping it tight to the wall plate, as it will roll off just as easy as it rolls on at this time. Don't let the dome track rail fall from the structure, this could result in a radius change and in a track rail that may not turn as freely as it should.

- When all the segments have been installed and bolted together the track should revolve freely. The track may appear to be somewhat loose at this time but this characteristic shall not be apparent after the dome roof panels are in place.

STEP #3 - DOME SKIRT ASSEMBLY

3.1

The dome skirt, which is installed around the outside of the dome track, is made of sections of 14 Gage galvanized steel with curved angles spot-welded to them (Page #3, 4).  These sections sit on the outside edge of the dome track rail.

- Locate the BACK CENTER marked on the dome track rail. This should be clearly marked and is directly across from a mark indicating the FRONT CENTER. Start with the section marked BACK CENTER.

- Bolt in place using 5/16" x 3/4" stainless steel truss head bolts. These will be marked SKIRT NUTS & BOLTS. The bolts go from the inside of the dome skirt out. The nuts are on the outside of the dome skirt.

- Continue with sections on either side of BACK CENTER bringing the similar numbers together.

- The last skirt section is installed by slipping one end of the panel into place. Then slide the other end down and locking it into place. Use these same nuts & bolts, 5/16" x 3/4" for the splice joints on the skirt panels also.

- It is recommended all nuts and bolts be installed and then go back and tighten all SKIRT BOLTS at the same time. This will make any final alignment much easier.

STEP #3a - AZIMUTH DRIVE GEAR RACK

3.2

You will see 1/4" holes drilled in the dome skirt sections just above the dome track rails. This is the location for mounting the azimuth gear rack (Page #5).

- Position the gear rack with "BACK CENTER" at the "BACK CENTER" of the dome skirt. As in earlier steps, align numbers to similar numbers.

- Fasten the sections together with the self-tapping, sheet metal screws provided. These will be marked AZIMUTH GEAR RACK SPLICE SCREWS. It may be necessary to shim the azimuth gear rack, to keep it centered within the dome skirt. These locations are noted near the hole on the inside of the skirt panel.

- The azimuth gear rack is secured to the skirt by using self-tapping screws. These screws are feed from the outside of the skirt, through the gear rack and tap into a GEAR RACK CHAIR.

- These chairs support the gear rack above the dome track and also hold it in place.

- It is suggested you secure the azimuth gear rack starting at the quadrants. If shims are required, start these also at the quadrants first. This will aid in keeping the azimuth drive track centered in the dome skirt.

STEP #4 - INSTALLATION OF THE DOME ROOF PANELS

4.1

Your ASH-DOME has been fitted with a circular reinforcing pipe ring. This ring is secured to the inside of the dome with fittings, which are attached to the ribs of each dome panel (see ASH-DOME Drawing R-105 - page 42).  An examination of the dome skirt will reveal "FRONT CENTER" and "BACK CENTER" points have been marked on the skirt panels. The "BACK CENTER" point indicates one end of a center line through the hemisphere of the dome. This point is where you will begin installing the roof panels (Page #6, 8, 9).  It should be noted that all roof panels are numbered at the bottom (wide) end, on the inside. These are the only numbers you are concerned with at this time.

- The first panel to be installed is marked BACK CENTER and a number. The center of this panel will go on the BACK CENTER of the dome skirt.

- These panels should fit flush on the outside trim angle of the dome skirt. One person stands on the scaffolding in the center of the dome cylinder. This person holds the roof sheet while the other person aligns the screw holes. The sheet metal screws, rib spacers and bolts are installed at this time. These items are marked ROOF SHEET SCREWS and BOTTOM RIB BOLTS.

- Install the roof sheet screws first. Screw the screw in next to the dome rib first. By doing this you allow for adjustments to help align other holes.

- Next install the RIB BLOCK, rib bolt and nut securing the rib to the skirt. It is suggested you do not tighten the rib nuts and bolts completely until all roof sheets are in position. The bolts go from the outside in, nuts on the inside.

- Note the number on the bottom end of the starting roof panel and install all the other panels in a manner, which causes the numbers to increase in a clock-wise direction or to decrease in a counter clock- wise direction. You are working from the center of the hemisphere toward the dome aperture from each side. It is suggested you install a few of the panels each way from the BACK CENTER to help bring the roof into shape.

- All panels are installed from the scaffold or platform inside the dome.

- The bottom end of each successive panel is entered into the top of the preceding roof panel's rib.

- The next panel is then slid downward through the interlocking rib joint until it comes to rest in a position on the dome skirt angle. It is suggested you use liquid soap or other non-oil lubricant on the edges of the interlocking panels. Remember to try and push in a circular manner, along the curve of the roof. The roof sheet will slide in and out of the rib somewhat so as to allow the installation of the sheet metal screws and the rib blocks. The first several sheets are difficult but as the roof comes into a hemisphere the sheets will slide easier. DO NOT DRILL NEW HOLES, take your time and the panels will come into alignment.

- With all the sheets in place, screwed and bolted you now have a semi-rigid dome structure. Remember to turn the dome and go back around and tighten all RIB BOLTS & NUTS. Position one person on the inside and one on the outside.

STEP #5 - INSTALLATION OF THE SHUTTER TRACK SYSTEM

5.1

Each shutter track rail is made up of two 1/4-circles of fabricated track. These 1/4 circles are bolted together before the track rails are raised into position over the top of the dome. The bolts and nuts are marked SHUTTER TRACK SPLICE NUTS & BOLTS (Page #10, 11).

- One shutter track section is positioned along each side of the observing aperture and over the backside of the dome.

- Note the location of the bolt holes through the shutter track base angle. Match these to the holes along each side of the aperture and make the identification of the right and left shutter tracks.

- The track rails are fastened at the ends first, front and back. Use a "C" clamp at the top of the dome to hold them in place (Page #12).

- Bolt the rails on to the rib locations next using the SHIM BLOCKS. One side of the aperture will be marked with lettered blocks; the other side will be numbered blocks.

- The wide part of the shim block is installed away from the aperture. This holds the track rail straight up and down.

- When the rails are secured, you are now able to bolt the side trim angles into position. The aperture side trim angles are installed along both sides of the observing aperture. These bolts go through the shutter track, the roof sheet and the trim angle, nuts on the inside of the dome. The tapered aluminum shim blocks under the track base angle hold the track rails in a vertical position when the fasteners are drawn down tightly
(Page #13, 14).

- All shim blocks and their respective locations are clearly marked with numbers or letters. When two blocks are on the same bolt the block that fits on the outside of the dome will be the block with the mark on it. The other block fits in between the trim angle and the dome skin. This is tricky to get in but, if you take your time, it will fit.

- Work your way up from the bottom of the aperture. By doing this you will draw the following holes into alignment.

- When the track rails are in place the internal cross bracing is now ready to be installed. These fit on the inside of the dome and fit onto the bolts that are coming thru the backside of the roof. These locations are also marked (Pages #15, 16, 17, 18).

- When installing the shim blocks on the back side of the dome you must put putty around the bolt on the inside of the dome along with the specified number of spacer washers to guarantee that leaking will not occur around these bolts.

- The Motor Bar supports the back end of shutter drive motor unit. This will be marked MOTOR BAR.

- The Top Bar supports the front of the shutter drive motor, and is marked TOP BAR. This is a heavy angle that has a plate bolted onto it and mounts across the top of the aperture.

- Use the TOP BAR RIB NUTS, BOLTS AND BLOCKS and secure this angle into position. These rib blocks will only fit one way and are rights and lefts.

- Next install the gear hole frame marked GEAR HOLE TRIM at the top of the aperture. This installs coming from the inside and slipping into position between the roof panels and the TOP BAR. This is the location where the shutter drive gear meets the shutter gear rack.

- Next install the BACK SHUTTER SEAL ANGLE (Page #20).  This is mounted on the outside of the dome just past the gear hole trim. It will fit in-between the shutter tracks; the flange of the angle faces the gear hole trim. Use the bolts marked BACK SEAL ANGLE BOLTS. The bolts go down into the dome, nuts on the inside.

- There are two diagonal track rail braces on the back of the dome. These are marked BACK BRACES, Right & Left and should be installed at this time.

STEP #6 -INSTALLATION OF THE SIDE WEATHER SEALS AND GLAZING

6.1

- The SIDE WEATHER SEALS are now ready to be mounted (Page #19).  The weather seals fit along either side of the dome aperture and bolt to the side of the shutter tracks. In order to mount the sections you must remove the nuts from the shutter track splices and fit the assembly over the track rail bolts first.

- After all parts of the shutter track, side weather seal system and back shutter seal angle are secured in place, you now have to caulk the dome (Page #21).  This glazing compound is squeezed into the space between the track rails and the skin of the dome, up both sides of the aperture. You start at the bottom and work your way up, across and under the back shutter seal angle and down the front. DO NOT CONTINUE OVER THE BACK PAST THE BACK SEAL ANGLE. You are only sealing the area under the dome shutter when it is in the closed position.

- Make certain that you have sealed all openings leading into the aperture completely. It is also recommended that a small amount of tube caulking be used around the head of each bolt used to secure the shutter track rails.

STEP #7 -INSTALLATION OF THE REINFORCING RING

7.1

All ASH-DOMES with a diameter larger than 12'6" are built with one or more reinforcing rings installed. A reinforcing ring consists of a number of circular segments of steel tubing with adjustable ends (Page #22).  The ring is held in position on the inside of the dome by means of a fixture attached to the rib of each roof panel. The rail segments are clearly marked to indicate the sequence of assembly. A BACK CENTER point is indicated on one of the circular tube segments.

- This mark must coincide with the BACK CENTER point of the dome.

- Other segments are marked so as number aligns to number. The rail ends secure to the sides of the observing aperture with readily identified fixtures.

- Start at this "BACK CENTER" and work your way around to the aperture, securing the clips as you go. The adjustable ends will bolt onto the sides of the aperture. When these ends have been secured, tighten the setscrews.

8.1

All shutter drive gear units are mounted in the same manner, whether manually or electrically operated.

- Remove the two small retaining angles which are bolted through slots at the top of the gear housing (Page #23).  The purpose of these angles is to lock the gear in mesh with the shutter drive track after the shutter has been installed. The shutter drive track runs down the center on the upper shutter section.

- Remove one nut (flex lock nut) and washer from the front support bolt; also remove the flex lock nuts from the brackets at the back of the motor assembly.

- Lift the unit into position and insert the 1/2" bolt through the slotted hole at the center of the top bar.

- Replace the washer and the self-locking nut to hold the motor drive unit in position.

- Bolt the hanger bolts into the holes drilled in the motor bar and tighten so as to just start to squeeze the rubber grommet on the bolt.

- Leave the self-locking nut on the front support bolt loose at this time.

STEP #9 -INSTALLATION OF THE SHUTTER SECTIONS

9.1

The main shutter section may now be raised into position over the observing aperture. Lift it on to the dome, resting upon the shutter track rails and side weather seal strips. Make certain the end with the back shutter seal is up, the over lap will be the bottom of the door (Page #24, 25).

9.2

- Remove the support roller mounting fixtures from the shutter side rails; insert the shaft of the support roller into each fixture.

- Then replace each fixture with the roller intact, locking it into the track rail. It is necessary to elevate the shutter somewhat to replace the fixtures with the roller installed. When all the rollers are in place, slide the shutter section upward until the top end is well past the back shutter seal angle.  DO NOT PUSH THE SHUTTER OVER THE BACK SIDE OF THE DOME. BE CAREFUL: SECURE THIS SECTION WITH A VISE GRIP IN THE TRACK SO THE SHUTTER CANNOT MOVE EITHER DIRECTION.

- Now the shutter drive track is positioned over the shutter drive gear unit. Raise the shutter drive gear unit upward until the gear is meshed with the shutter drive rack, and reinstall the two small angle brackets which lock the gear into this position. Some slight forward or backward adjustments may be necessary to position the angles to allow freedom of movement, yet maintaining a permanent lock between the drive gear and the shutter drive track. Shifting the angle fastener bolts slightly in the curved mounting slots cut into the shutter drive gear housing does this. The angles must appear to lie on the top of the shutter drive track.

- Tighten the nut on the shutter drive unit front support bolt, allow about 1/32" clearance to provide this bolt to shift with the movement of the shutter. This movement is necessary because of possible wind loading.

- After this is done, the shutter drive unit cannot move except unless it is electrically operated.

- Install the short shutter section in the same manner. Make certain the locking device is upward and will be in proper position so that when the two sections are brought together they meet and lock. Since this is a TYPE "B" style dome, the lower door is mounted on hinges and the two sections should meet evenly (Page #26).

- Run the main shutter section open and install the BACK SHUTTER SEAL.

- Bring the lower door section up, also and install the front shutter seal. Some adjustment may be necessary so the shutter stops in the correct position.

STEP #10 -INSTALLATION OF AZIMUTH DRIVE AND WEATHER SEAL

10.1

- Insert the weather seal over the bolts and roller fixtures around the wall plate assembly. The edge of this seal should wipe against the inside of the dome track and fit into the space between the track and azimuth gear rack (Page #29).

- The opening between the dome track rail and the topside of the wall plate assembly is very effectively sealed using this method.

- The azimuth drive seal mounts at the location where the azimuth motor mounts. This is where you start with the rubber seal and end with the roll of rubber. This piece fits under the motor so as to prevent dust from blowing in around the motor (see ASH-DOME drawing R-104 – page 41).

STEP #11 - INSTALLING THE AZIMUTH DRIVE UNIT

11.1

The location of this drive unit should already be known. It has also been marked clearly on the wall plate assembly.

- Two mounting bolts are extending upward from this location through the azimuth motor seal (see ASH-DOME drawing R-105 – page 42).

- Mount the unit in a manner, which causes the drive gear to mesh with the circular azimuth gear rack. It should remain in this position throughout one complete revolution of the dome. It may be necessary to shift the unit somewhat to accomplish this.

- Using the hex nut and the locking wing nut, adjust gear down into the azimuth drive track.

- Tighten the hex nut down until light pressure is applied to the circular rack.

- Then lock the hex nut using the wing nut. The gear should more or less float in this rack while remaining engaged.

STEP #12 - LUBRICATION

12.1

All dome and shutter support rollers have ball bearings. These have been lubricated.

- It is suggested that the inside configuration of all shutter and dome support track rollers be lubricated with the same type lubricating oil.

- It is important that the top and sides of the shutter drive rack be greased over the length of the drive rack; also grease the rack openings, which come into contact with the shutter drive gear.

- The drive motor gearboxes are filled with lubricating oil at the factory, however, it is suggested that the oil level be checked and oil added if necessary. Any good grade all temperature oil should be suitable.

Construction of your Ash-Dome is now complete.  Congratulations!

PAINTING

All ASH-DOMES are fabricated of galvanized and Galvalume steel. These materials do not require painting, but some purchasers choose to do so. Should it be desired to paint your observatory, clean the surface with a detergent and rinse. This will remove any oils used during the roll forming process. It is recommended you contact a local paint supplier and seek a paint used on commercial metal buildings.

OWNERS RESPONSIBILITIES

As the owner, you are responsible for maintaining your ASH-DOME properly. Repairs required as a result of failure to maintain your Ash-Dome properly are the owner's responsibility.

SHOULD YOU HAVE ANY QUESTIONS, PLEASE CALL.

| ASH MANUFACTURING COMPANY | Phone: (815) 436-9403 |
| --- | --- |
| P.O. Box 312 | Fax: (815) 436-1032 |
| Plainfield, Illinois USA 60544 | Email: ashdome@ameritech.net |

16' 6" Diameter Ash-Domes - Tools

HAND TOOLS REQUIRED

| Electric Power to operate dome and power tools (110V, 1PH, 60CYC) | 1 - Electrical extension cord 110V |
| --- | --- |
| 1 - metal cutting saw | 1 - scaffolding |
| 1 - saw for cutting wood | 2 - ladders (of sufficient length) |
| 1 - electric drill (3/8” variable speed) | 2 - hammers |
| 1 - impact screw gun (electric screw driver) | 1 - 8" Crescent wrench |
| 1 - 5/16" & 3/8" nut driver ends for screw gun | 1 - 4 ft level |
| 2 - 1/2" open end wrenches | 1 - 20 ft tape measure |
| 2 - tapered drift pin (tool used to align holes in metal) | 1 - wood drill bit, slightly larger than the anchor bolt diameter |
| 1 - 3/8" nut driver | 1 - set of open end, wrenches 3/8" - 3/4" |
| 1 - 11/32" nut driver | 1 - ratchet set 3/8" drive 7/16" - 3/4" deep sockets |
| 2 - straight blade screw drivers | 2 - pry bars |
| 1 - Phillips (cross head) screw driver | 2 - putty knives |
| 1 - caulking gun | 2 - "C" clamps (large) |
| 1 - steel banding cutter | 3 - vise grips (locking pliers) |
| 1 - pair of gloves for every worker | 1 - length of rope |
| 1 - razor knife | 1 - Drill index 1/8 – 1/2 |
| 2 or 3 people accustomed to working with mechanical things – accustomed to working construction and have some working knowledge of how wooden and metal buildings are assembled | 1 - Engineers level. This must be used to level the ASH-DOME wall plate assembly to + or - 1/32") |
| 1 - ¼ “ masonry drill bit | 1 - Skill saw for cutting wood |
| 1 - Saber saw | 1 - ¾” wood drill bit |
| 1 - Hack saw | 2 - bar clamps (18”) |
| 1 - Large pair of scissors |  |

WILL ALSO REQUIRE

- Good grade all weather lubricating grease

- Good grade all temperature oil for lubricating driver motor gear boxes